## Water
Power Requirement
Sr No | Item Particulars | Qty | HP | KW
1 | RO Plant 30000 Liter Per Hour SS | 1 | 60 | 44.742
2 | RO Plant 10000 Liter Per Hour SS | 1 | 24 | 17.8968
3 | 1000 KG boiler | 1 | 10 | 7.457
4 | 35 Tr Chiller Machine | 1 | 45 | 33.5565
5 | cooling tower | 2 | 4 | 2.9828
6 | 2000 Liter Sugar Syrup Room | 1 set | 50 | 37.285
|  | total | 193 | 143.9201
| Pet Blow Machine -120 BPM For Water bottle | QTY | HP | HP | KW
1 | 2 KVT Automati Pet blow Machine 3600 BPH | 2 | 34 | 68 | 49.9619
2 | High Pressure Air Compressure | 2 | 50 | 100 | 74.57
3 | Low Pressure Air Compressor | 2 | 30 | 60 | 44.742
4 | Low Pressure Air Dryer | 2 | 1 | 2 | 1.4914
5 | Water Chiller 5-Ton, With Storage Tank | 2 | 7.5 | 15 | 11.1855
6 | Cooling Tower With Pump | 2 | 2 | 4 | 2.9828
|  |  | Total | 249 | 184.9336
| Pet Blow Machine -90BPM For CSDBottle | QTY | HP | KW
1 | 4 KVT Automati Pet blow Machine 5800 BPH | 1 | 42 | 31.3194
2 | High Pressure Air Compressor | 1 | 75 | 55.9275
3 | Low Pressure Air Compressor | 1 | 40 | 29.828
4 | Low Pressure Air Dryer | 1 | 2 | 1.4914
5 | Water Chiller 10-Ton, With Storage Tank | 1 | 15 | 11.1855
6 | Cooling Tower With Pump | 1 | 2 | 1.4914
|  | total | 176 | 131.2432
| Pet Blow Machine -60 BPM For Juice Bottle | QTY | HP | KW
1 | 2 KVT Automati Pet blow Machine 3600 BPH | 1 | 34 | 25.3538
2 | High Pressure Air Compressure | 1 | 50 | 37.285
3 | Low Pressure Air Compressor | 1 | 30 | 22.371
4 | Low Pressure Air Dryer | 1 | 1 | 0.7457
5 | Water Chiller 5-Ton, With Storage Tank | 1 | 7.5 | 5.5927
6 | Cooling Tower With Pump | 1 | 2 | 1.4914
|  | Total | 124.5 | 92.8396