## Sheet1
Design:- 30 TR Air Coold Chiller Machine
Comeplete Unit Like Condensar And Compressors Is mounted on a sturdy
frame the refrigerant circuit is completely piped at the factory and it is
operating with first charge refrigerant and oil the circuit.
* | Futures:-
| :- Modular Design Chilling Plant |  | ( Air Cooled Scroll Comp. )
:- Idael For Space Economy
:- Easy Moment
:- Effcient Cooling
* | Specification For Chilling Plant:-
1 | :- Plant Dimension |  | :- 114" x 50" x 72" ( L x W x H ) ( In Inch )
2 | :- I.B.T. Size:- |  | -
3 | :- Medium to be Cooled |  | :- M.E.G. ( 20 % )
4 | :- Inlet Temp. |  | :- 29*
5 | :- Outlet Temp. |  | :- 20*
6 | :- water flow |  | :- 9000 litre
7 | :- Refrigerant |  | :- R - 22/R 407 C
8 | :- Chilling Plant Caps.( Nos - 1 ) |  | :- 30 Tr. (15 Tr. x 2 )
9 | :- Cooling Efficiency |  | :- Tested On site
* | Chilling Plant Component Details
| PARTS | MAKE | Lot
| Base Frame | Jenny | Lot - 1
| Compressor | ZR 250 Scroll Emerson - 300 ( Scroll ) | Lot - 2
| Air Cooled Condenser | Jenny | Lot - 2
| Axial Fan | High Cool /Kanbo | Lot- 3
| P.H.E. Chiller | Swep / Kelvion | Lot - 2
| Accumilator | Emerson/Dryall | Lot - 2
| Vibration Pipe ( Ellimeter ) | Henry/ Dryall | Lot - 2
| Solinoide Valve | Danfoss/O-Bell | Lot - 2
| Drier/Filter | Danfoss / Emerson | Lot - 2
| Sight Glass | Danfoss/O-Bell | Lot - 2
| Ball Valve | Danfoss | Lot - 2
| Ex.Valve | Danfoss | Lot - 2
| L.P/ H.P. | Danfoss | Lot - 2
| Low Pressure Gauge | Imported hongsen | Lot - 2
| High Preaaure Gauge | Imported hongsen | Lot - 2
| Water Pump | Kirloskar / Crompton/silver | Lot - 1
| Water Flow Switch | Cstle/honeywell | Lot - 2
| S.P.P. | GIC / Ellico | Lot - 1
| Main M.C.B | C&S/TC | Lot - 1
| Contactor | C&S/TC | Lot - 4
| Relay | C&S/TC | Lot - 4
| Temp. Meter | Sub Zero | Lot - 2
| Volt/Amps/ Hz Meter | Selec / AE | Lot - 1
Electrical Specification :-
| 1) Power Supply | :- 440 V / 3 Phase / 50 Hz
| 2) Connected Load | :- 38 Kw ( 59.85 Hp )
( Maxmium )
Note :- Feed pump And Piping At Custmer Scope