|  |  |  |
| --- | --- | --- |
| Sr.No | Particulars | Power Required  (In HP) |
| 1 | 6000LPH SS RO Plant | 13 |
|  |  |  |
| 2 | 40BPM Automatic Rinsing Filling & capping Machine | 12 |
|  |  |  |
| 3 | 2600BPH Automatic Pet Blow Molding Machine | 28 |
|  |  |  |
| 4 | High Pressure Air Compressor | 30 |
|  |  |  |
| 5 | Low Pressure Compressors | 20 |
|  |  |  |
| 6 | High Pressure Air Dryer | 1 |
|  |  |  |
| 7 | Low Pressure Air Dryer | 1 |
|  |  |  |
| 8 | 3Ton Chiller | 5 |
|  |  |  |
| 9 | Cooling Tower | 2 |
|  |  |  |
| 10 | BOPP Labeling Machine | 10 |
|  |  |  |
| 11 | Semi- Automatic Shrink Wrapping machine | 16 |
|  |  |  |
| 12 | Jar filling machine-150 jph | 8 |
|  | **Total Power Required** | **146** |

**Power Requirement For Project 6000 lph Mineral Water Bottle Plant**